EXTERNAL ASSURANCE EXTRACT
(Agreed-Upon Procedures — Criterion-Level Summary)

Document ID: ASSURE-ALIGN-AVSP-01
Version: v1.0-202511
Issue Date: 2025-11-28
Prepared for: Solaria Delta Group (“SDG”) — Taxonomy Alignment Pack (Q4 2025)
Assurance Provider: Aster & Co., Sustainable Finance Assurance Practice
Engagement Reference: ENG-REF-ADAPT-AVSP-2025-044
Project / Asset: Alto Vale Solar Park (“AVSP”)
Site / Location: Alentejo, Portugal
Reporting Period / Cut-off Date: Evidence available up to 2025-11-15

──────────────────────────────────────────────────────────────────────────────

1. Purpose and Scope

This document is an extract of agreed-upon procedures performed by the Assurance Provider to support SDG’s internal governance and lender due diligence related to the EU Taxonomy. It summarises criterion-level findings for the technical screening criteria listed in Section 5. This extract does not reproduce underlying proprietary studies, full technical reports, or data-room materials.

Scope selection (tick as applicable for this extract):
[x] Eligibility / activity scoping included [ ] Not included
[x] Substantial contribution (SC) included [ ] Not included
  Objective: [ ] Climate change mitigation [x] Climate change adaptation [ ] Other: []
[x] DNSH included [ ] Not included
  DNSH topics covered (if included): [x] Circular economy [x] Biodiversity [] Water [] Pollution [ ] Other: []
[ ] Minimum safeguards included [x] Not included

Out of scope: Minimum safeguards (assessed separately at SDG Group level).

──────────────────────────────────────────────────────────────────────────────

2. Legal Basis and Criteria Version

Legal basis assessed against:

- ELI: ELI:reg_del/2021/2139/oj

- Reference location: Annex II | Section 4.1 — Electricity generation using solar photovoltaic technology

- Criteria version basis: As published in the Official Journal for the above legal basis.

- Version (OJ reference): OJ L 442, 09.12.2021

- Criteria version date used (internal pack standard): 2025-10 (consolidation cut-off for pack drafting)

──────────────────────────────────────────────────────────────────────────────

3. Procedures Performed (Agreed-Upon Procedures)

We performed agreed-upon procedures consisting of:
(a) obtaining and inspecting management-provided evidence referenced in Section 4;
(b) verifying whether that evidence addresses the criterion wording in the legal basis listed in Section 2; and
(c) documenting, for each criterion listed in Section 5, whether it is Met / Not met / Not assessed within the scope described in Section 1.

──────────────────────────────────────────────────────────────────────────────

4. Evidence Inspected (High-level Listing)

Note: underlying documents may not be reproduced in SDG’s distributed pack due to confidentiality. This extract lists evidence categories and identifiers inspected.

Evidence register:
E-01 | Climate Risk & Vulnerability Assessment (CRVA) | v3.2 (2025-09) | AVSP asset-level physical climate risk screening incl. hazard maps and scenario analysis.
E-02 | Adaptation Plan & Design Response Register | v2.1 (2025-10) | Mapping of material risks to design/operational measures and residual risk treatment.
E-03 | Engineering Basis of Design (BoD) | Rev F (2025-08) | Design standards for drainage, wind loading, temperature resilience, component selection.
E-04 | Operations & Maintenance (O&M) + Monitoring Plan | v1.3 (2025-10) | Monitoring indicators, extreme weather procedures, escalation protocols.
E-05 | Environmental Impact Assessment (EIA) decision extract | 2023-06 | Project siting constraints and mitigation commitments (high-level).
E-06 | Waste & End-of-Life Plan (construction + operation) | v1.0 (2025-07) | Waste streams, recycling approach, contractor obligations.
E-07 | Biodiversity Screening & Mitigation Note | v1.2 (2025-09) | Habitat screening, exclusion zones, construction timing constraints.
E-08 | Supplier Declarations Set (modules/inverters/structural steel) | 2025-09 to 2025-11 | Restricted substances, recyclability statements, dismantling approach.

──────────────────────────────────────────────────────────────────────────────

5. Criterion-Level Findings

Status legend:

- Met: evidence inspected addresses the criterion as written.

- Not met: evidence inspected indicates the criterion is not satisfied.

- Not assessed: criterion was outside scope or evidence was not available within the engagement.

Findings table (Annex II | Section 4.1 — Solar PV electricity generation):

| Criterion reference (legal text) | Status | Brief factual anchors (evidence inspected) |
| --- | --- | --- |
| Eligibility / Activity scoping — Section 4.1 (activity description) | Met | AVSP is documented as grid-connected electricity generation using solar PV technology with export capacity and boundary metering (E-03; permit excerpt reviewed in data room). |
| SC-ADAPT-1 — Climate risk and vulnerability assessment performed | Met | Asset-level CRVA completed, identifying relevant physical climate hazards (heat, drought, extreme precipitation, wildfire risk indicators, wind) using scenario-based screening and site-specific hazard maps (E-01). |
| SC-ADAPT-2 — Material risks identified for relevant time horizons and uncertainty considered | Met | CRVA considers near-, mid-, and longer-horizon projections aligned to the expected operational life; includes uncertainty discussion and sensitivity checks for key hazards (E-01). |
| SC-ADAPT-3 — Adaptation solutions implemented; do not increase risks to others; monitoring in place | Met | Design response register links each material risk to measures (e.g., upgraded drainage sizing, erosion control, heat-rated components, extreme-weather O&M procedures) and includes residual risk tracking and monitoring indicators (E-02; E-03; E-04). |
| DNSH-CE — Circular economy / waste management and end-of-life considerations | Met | Waste & end-of-life plan defines waste streams, contractor obligations, recycling pathways, and dismantling approach where feasible; supplier declarations cover recyclability/dismantling considerations for key components (E-06; E-09). |
| DNSH-BIODIVERSITY — Biodiversity and ecosystems protection | Met | Biodiversity screening identifies sensitive habitats and includes exclusion zones and timing constraints; EIA decision extract includes mitigation commitments implemented via CEMP and construction controls (E-08; E-05; E-07). |

──────────────────────────────────────────────────────────────────────────────

6. Limitations

Our procedures were limited to the scope described in Section 1 and the evidence described in Section 4. We did not perform an audit or assurance engagement in accordance with a comprehensive assurance standard, and we do not express an assurance opinion. Our work relied on evidence made available by SDG and, where applicable, data-room access granted for due diligence.

──────────────────────────────────────────────────────────────────────────────

7. Sign-off

For and on behalf of: Aster & Co.
Name: Helena Martins
Title: Director, Sustainable Finance Assurance
Signature: Helena Martins
Date: 2025-11-28