PERMIT EXCERPT — ELECTRICITY GENERATION (SOLAR PV) + GRID CONNECTION

Document ID: PERMIT-AVSP-01
Source: Direção-Geral de Energia e Geologia (DGEG), Portugal
Permit Type: Production and Grid Connection Authorisation (Excerpt)
Reference No.: DGEG/UPR/AVSP/2023/1179
Issue Date: 2023-11-14
Project / Asset: Alto Vale Solar Park (“AVSP”)
Location: Alentejo, Portugal (Municipality of Évora — União de Freguesias [redacted])
Permit Holder / Operator: Solaria Delta Renewables, S.A. (SDR), tax ID PT-5XX.XXX.XXX

1. Authorised Activity (Excerpt)
The competent authority hereby authorises the construction and operation of an electricity generation facility using solar photovoltaic technology, designated Alto Vale Solar Park (“AVSP”), for the purpose of electricity generation and export to the public electricity grid.

2. Technology and Capacity (Excerpt)

- Primary technology: solar photovoltaic (PV) modules with associated inverters and balance-of-plant.

- Installed capacity: 148.5 MWp (DC) / 125 MW (AC) nominal export capacity.

- Connection configuration: grid-connected via on-site substation and HV connection line.

3. Grid Connection and Export (Excerpt)
AVSP is authorised for grid injection/export at the designated connection point:

- Connection point: Substation “Alto Vale 220 kV” (REN network)

- Metering: import/export metering at boundary point in accordance with applicable network codes.

- Export rights: electricity produced by AVSP may be exported to the public grid and settled under the applicable commercial arrangements (not reproduced in this excerpt).

4. Responsible Entity (Excerpt)
The Permit Holder and responsible operator for AVSP is Solaria Delta Renewables, S.A. The Permit Holder is responsible for compliance with technical, safety, and environmental conditions attached to the authorisation.

5. Validity (Excerpt)
This authorisation is effective from the issue date and remains valid subject to compliance with the conditions set out in the full permit documentation and applicable Portuguese and EU law.

(End of excerpt. Full permit conditions, annexes, and drawings are not reproduced in the SDG distributed pack.)